Model No LCV-101

Two bedroom, one bathroom, dinning hall, kitchen, veranda

3D veiw

Floor layout plan

Floor Description

- Floor Area 				  	440 sft

- Width 					20 ft

- Lemgth					22 ft

- Eave Height				    	9.5 ft

- Master Bed Room			    	11ft x 10ft

- Child Bed				  	11ft x 10ft

- Living Room 			     	18ft x 8ft

- Kitchen 				     	6ft x 6ft

- Common Toilet 				5ft x 4ft

- Veranda			       		6ft x 4ft

Materials Description

- Footing				pre cast Rcc

- Tie Beam				pre cast Rcc

- Structure				Prefab steel

- Roof					0.42mm Color coated steel sheet

- Heat Insulation			5mm pe foam

- Outer wall				2.5’’pre cast  Rcc  panel

- Inner wall				2’’ pre cast Rcc panel

- Main Door 				Steel flash  Door

- Toilet & Kitchen  			PVC Door

- Window				Glass with MS frame

- Grill					10 mm Square bar

- Indoor paint				Off-white plastic Emulsion

- Outdoor paint			Light gray weather coat

- Commode				Star band

- Bath room fitting			uPVC

- Floor finishing			Ner cement and color

- Safety tank				2 set x 3ftx5ft ring well

- Water Tank				500 ltr with steel stand